## FCI Steam Trap Spec Sheet
CUSTOMER
[9 empty] | PROJECT | [11 empty] | DATA SHEET
[9 empty] | UNIT | [11 empty] | SPEC
[9 empty] | P.O. | [11 empty] | TAG
[9 empty] | ITEM | [11 empty] | DWG
[9 empty] | CONTRACT | [11 empty] | SERVICE |  |  |  | Steam / Condensate
[9 empty] | MFR SERIAL | [11 empty] | DATE
1 | APPLICATION CONDITIONS | Operating Conditions | [5 empty] | Units |  |  | Max |  |  | Norm |  |  |  | Min
2 |  | Incoming Condensate Flow |  |  |  |  | Qi | [14 empty] | See Page 2 for Definition of Terms. Reference FCI Standards 69-1, 85-1, 87-1, 13-1 and Tech Sheet #601.
3 |  | Operating Pressure |  |  |  |  | PO
4 |  | Operating Back Pressure |  |  |  |  | POB
5 |  | Operating Temperature |  |  |  |  | TO
6 |  | Maximum Differential Pressure |  |  |  |  | PMX
7 |  | Design Conditions | [6 empty] | Units |  |  | Value |  |  |  | Basis of Design Manufacturer
8 |  | Maximum Allowable Pressure |  |  |  |  | PMA | [8 empty] | Manufacturer
9 |  | Maximum Allowable Temperature |  |  |  |  | TMA | [8 empty] | Trap Model
10 |  | Ambient Temperature Minimum | [13 empty] | Trap Capacity | [7 empty] | Capacity Units
11 |  | Check valve required (recommened if lift after trap) | [6 empty] | YES: |  |  | NO: |  |  |  | @ Differential | [9 empty] | Differential Units
12 |  | Sizing Factor (actual capacity multiplied by this factor) | [13 empty] | Comments
13 | LINE | Pipe Line Size |  | IN | [5 empty] | Units |  |  | 48 | OTHER APPLICATION INFORMATION | Check Box For Specified Application
14 |  | Pipe Line Size |  | OUT | [5 empty] | Units |  |  | 49 |  | Drip
15 |  | Inlet Pipe Insulation (thickness/units) | [6 empty] | Material |  |  |  | 50 |  | Process
16 | APPLICATION DETAILS | Process Name | [10 empty] | 51
17 |  | Modulating Steam Supply Valve |  |  |  | NO |  | YES |  |  |  |  | 52 |  | Sanitary Steam Applications
18 |  | Vertical Lift Required |  |  |  | NO |  | YES | Height/Units |  |  |  | 53 |  |  |  | Sanitary Steam Main Drainage
19 |  | Enviromental Concerns | [10 empty] | 54 |  |  |  | Moisture Separator
20 |  | Physical Limitations | [10 empty] | 55 |  |  |  | Process Sanitary Steam Barrier Drainage
21 |  | Other (write in) | [10 empty] | 56 |  |  |  | Liquid Rotating Seals
22 |  | Other (write in) | [10 empty] | 57 |  |  |  | Process Skid SIP Drainage
23 |  | Other (write in) | [10 empty] | 58 |  |  |  | Process Vessel SIP Drainage
24 | TECHNOLOGY | Check Box For Technology Preference | [5 empty] | Comments |  |  |  |  | 59 |  |  |  | Sterilizer, Autoclave
25 |  | Float | [10 empty] | 60 |  |  |  | Other (write-in)
26 |  | Thermostatic (Balanced Pressure) | [10 empty] | 61
27 | [12 empty] | 62 | END CONNECTIONS | Check Box For Connection Preference
28 | [12 empty] | 63 |  | Butt-weld
29 | BODY MATERIAL | Check Box For Body Material Preference | [5 empty] | Specify Alloy or Grade |  |  |  |  | 64 |  | Butt-weld Sch
30 |  | Stainless Steel | [10 empty] | 65 |  | Flanged |  |  |  |  | Reference ANSI/ASME B16.5
31 |  | No Preference / Other (write in) | [10 empty] | 66 |  | Flange Type & Class
32 | [12 empty] | 67 |  | Threaded
33 | [12 empty] | 68 |  | Thread Type |  |  |  | NPT, BSPP, BSPT
34 | SURFACE FINISH | Check Box For Surface Finish Method and Requirements | [10 empty] | 69 |  | Socket-weld
35 |  | Ra | [10 empty] | 70 |  | Socket-weld Type
36 |  | RMS | [10 empty] | 71 |  | Tri-Clamp®
37 |  | Interior Surface Finish Requirement | [7 empty] | Units |  |  | 72 |  | Other (write in)
38 |  | Exterior Surface Finish Requirement | [7 empty] | Units |  |  | 73 | STANDARDS |  | FCI 69-1 Pressure Rating Standard for Steam Traps
39 |  | Electropolish | NO |  | YES | [7 empty] | 74 |  |  | FCI 85-1 Standard for Production Testing for Steam Traps
40 | SPECIALS / ACCESSORIES | [11 empty] | 75 |  |  | FCI 87-1 Classification and Operating Principles of Steam Traps
41 | [12 empty] | 76 |  |  | FCI 13-1 Determining Condensate Loads to Size Steam Traps
42 | [12 empty] | 77 |  |  | Other (write-in)
43 | [12 empty] | 78 |  |  | Other (write-in)
44 | [12 empty] | Rev |  | Date |  |  |  | Revision |  |  |  | Orig |  |  | App
45
46
47
DEFINITION OF TERMS
Line |  | Term / Definition
2 |  | Incoming Condensate Flow (Qi) - Condensate load generated by the steam system/application that must be discharged by the steam trap. (Reference FCI 13-1)
3 |  | Operating Pressure (PO) - Pressure measured at the inlet of the steam trap under operating conditions. (Reference FCI 69-1)
4 |  | Operating Back Pressure (POB) - Pressure measured at the outlet of the steam trap under operating conditions. (Reference FCI 85-1)
5 |  | Operating Temperature (TO) - Temperature measured at the inlet of the steam trap under operating conditions. (Reference FCI 85-1)
6 |  | Maximum Differential Pressure (PMX) - Maximum difference between operating pressure and operating back pressure. (Reference FCI 85-1)
8 |  | Maximum Allowable Pressure (PMA) - Maximum pressure that the shell of the steam trap can withstand permanently at a given temperature. (Reference FCI 69-1)
9 |  | Maximum Allowable Temperature (TMA) - Maximum temperature to which the shell of the steam trap can be raised permanently. (Reference FCI 69-1)
Page 2